Software Deployment in the Field – Technical Debt and Data-Ops

##### Preface:

Nothing in this talk has been approved by EOL. I am not speaking for any other EOL software engineers, I am speaking merely from my own experience and perspective.
##### Questions:
Do I introduce the iss catalog tool early on, and then refer to it when it is relevant? I think so. So introduce it in the "principles and applications" section, since it is sort of the prototype for testing some of the general concepts, and then refer back to it for automated datastream-specific tests, consolidated configuration, metadata-based file management, and continuous processing.
# Introduction
When people ask me about my job at NCAR, I tell them I'm a programmer, and I develop and deploy software for weather instruments, and I enjoy getting out from behind my desk to support software and instruments in the field. In fact, I have had some fascinating and educational experiences away from my desk.
So this is about what I've learned, how it relates to some current software engineering concepts like technical debt and devops, and my work-in-progress to apply those concepts to one field platform which I support. Much of that work-in-progress uses python, of course.
I will focus specifically on software engineering challenges and solutions for field project deployments, and I hope that will be interesting, but I also expect that most of it will have familiar parallels in your own developments.
First, I will set the stage with some stories of coding in the field, at least from my own experience in EOL.
# Stories from the Field (or, mistakes from my past)
## Story of Zebra at TOGA-COARE
One of my first field experiences at NCAR was for the TOGA-COARE project, still a large project by any measure, and I was working at the ops center in the Solomon Islands supporting a software system called Zebra.
TOGA-COARE slide
Before Jon Corbet became a Linux kernel developer and editor of LWN, he developed Zebra:
Refer to photo of Jon
Visual integration of a variety of kinds of instrument data, and configuration for a set of typical visualizations, for both real-time and post-project, because every field project was different.
Zebra plot graphic
So here I was in Honiara, on the island of Guadalcanal, supporting scientific software, I had this sense of adventure and excitement for field developments, seeing some of my code in use and meeting scientists' needs in real-time.
Well, I was young and optimistic, and I saw this shortcoming in the Zebra datastore that I thought I'd fix, right there, halfway around the world in the second floor of the malaria research center, the day before I was leaving to go wander around New Zealand for two weeks completely out of touch. I knew I was taking a risk because I went ahead and made a copy of the executable before I recompiled it, and I thought if there was a problem someone would probably be able to find the backup. Probably I gave the backup copy some clear and precise extension like .pre-datastore-fix.
## Other field stories
I have since had many other interesting and fun stories of developing in the field.
P3 circling OKC at low altitude, feeling sick and trying to test and debug software.
GAUS truck
VORTEX driving through the plains, writing code on a laptop sitting shotgun in the MGAUS pickup. Because you don't really know how reliable your cellular broadband connection will be and how to optimize the transmission of sounding data in real-time from a dead spot in the middle of Kansas.
CLIMODE images
CLIMODE: sitting at a computer and my chair sliding backwards away from the computer when the ship rolled.
Picture of U-Haul trailer at METCRAX
Sitting inside seatainers and even U-haul trailers.
## The Nature of Software Development in the Field
A field deployment is driven by the observations the scientists need to record with the instruments they can deploy. So every deployment requires custom configuration and integration, and most of that configuration and integration happen--where else?--in software. And it seems to be inevitable in field deployments that some of the configuration and integration happens in the field, and software development will often happen in a time crunch in some unusual environments.
It's hard to know for certain ahead of time what products, metrics, delivery rates, or special datasets will help the real-time planning. I can't tell you how many times we get requests in the field to script the delivery of some data product, because someone realized that it was available or that it would help them evaluate their own instrument or model.
Here's an interesting example. I was supporting the LANTEX project in Hong Kong a long time ago, and one scientist needed to run a model and use the data from our balloon soundings as input. It turned out that to get
## Integrated Sounding System
Nowadays one of the field platforms I support is called the ISS, Integrated Sounding System.
It is a good case study for all the field development issues I'm talking about: it is a highly configurable instrument network and system of software that must be deployed in all kinds of environments with all kinds of instruments.
Slide of ISS on land at Diego
ISS on a trailer at T-REX
ISS on a ship in DYNAMO
# Technical Debt in the Field
Clearly the less development and configuration that must be done in the field the better. Not just that, but I think it is useful to look at the software development done in the field as technical debt.
## What is technical debt?
It turns out that right around the time of the TOGA-COARE project, Ward Cunningham contributed an experience report to the 1992 OOPSLA conference about the development of some financial software, and the report describes a debt metaphor for software development.
Shipping first time code is like going into debt. A little debt speeds development so long as it is paid back promptly with a rewrite. Objects make the cost of this transaction tolerable. The danger occurs when the debt is not repaid. Every minute spent on not-quite-right code counts as interest on that debt. Entire engineering organizations can be brought to a stand-still under the debt load of an unconsolidated implementation, object- oriented or otherwise.
Ward Cunningham
This metaphor came to be known as technical debt.
The idea has evolved and many people have expanded on it, and so Ward has since tried to clarify the metaphor as he intended it. His technical debt metaphor is not about what happens when you write bad code. From his perspective, even if you always write good code, you still take on debt because that code will need to be refactored in the future as your understanding of the problem evolves and expands.
From the perspective of field deployments, I'll also add that the code also needs to be maintained, configured, and deployed, for each and every successive field deployment. In other words, writing the code is never the end, writing code always implies taking on debt.
The kind of debt that Ward describes is not necessarily bad debt. And in fact you can read lots of articles justifying cases where you should take on debt. Martin Fowler gives the example of choosing between two solutions to a problem, call them the quick-and-dirty solution and the slow-and-clean solution. If you really need a quick solution, then you choose quick-and-dirty, but you accept a larger amount of technical debt, accepting that someday you'll have to refactor the dirty code into something cleaner.
Technical debt is what we have when we borrow against our future development time. And like any debt, it involves risk. What happens if take on the debt of a quick-and-dirty solution and then later on cannot pay it off? Then we have a development crisis, the thing that Ward mentions can bring an engineering organization to a stand-still. It should sound like the mortgage lending crisis. When we underestimate the risk of our debt, and then it can't be paid off, we're stuck holding software whose value has suddenly dropped. Maybe we can't compile it on a new platform or refactor it to find and fix a new bug, but either way it becomes less valuable and more costly to deploy.
There are good reasons businesses take on debt, and likewise there can be good reasons developers take on technical debt.
Any debt carries with it risk. We might be very aware of our technical debt, and we might make conscious, deliberate, rational choices to accept debt, but we risk not being able to pay it back. It is impossible to know for certain how much work it will take to refactor code later on, or to turn that quick-and-dirty code into clean code later, or to consolidate code that has been almost-but-not-quite duplicated into a dozen places by copy-and-paste. When we can't deliver on refactoring or maintaining our code, then the interest just builds and we spend more and more time "paying the interest"--fixing bugs and re-learning the code--and less time on actual feature development.
Some risk is out of our control. When we choose a particular technology or library for an implementation, we accept the risk that those might become obsolete, or unavailable for our target platform. We take on risk for the time it saves us now, but we have to understand that the debt may come due at any time, and we'll owe lots of work to switch to a new implementation.
So I find the quick-and-dirty versus slow-and-clean dilemma to be especially relevant to field projects, but there are several pressures I'd like to mention which push us to take on debt. And naturally all programmers have probably experienced analogous pressures in their developments.
## Pressures to take on debt
Here are some of the pressures we have to take on technical debt for a field project:
### Mission Creep
Or, since we're already going to be there, or incremental cost, or once-in-a-lifetime opportunity.
Pressure to make the most of an expensive deployment: you send equipment, instruments, and people half way around the world for 1-2 months ("some limited window, and within that window to study some limited number of occurrences of whatever phenomenon you're there to observe") to observe a specific phenomenon -- you do everything you can to get it right. You may never get another chance to have all these instruments in this place at this time.
I suspect modelers have a similar pressure. When it takes days to run an experiment to study model behavior or produce results for a particular scenario, maybe there's a tendency to push all the latest changes in rather than wait for the next run? A modeler would have to answer that, I'm just pointing out that the pressures might be similar to a field project, and to any endeavor where we want to capitalize on a limited window with expensive resources.
### Live Testing
Often there are new software capabilities that are just much more convenient to test during a field project. Sometimes the software was written specifically for that field project and that combination of instruments and data, so that's when the code gets really tested. The field project is our integration test. Therefore fixes have to happen in the field, and the time crunch can dictate the kind of fixes we can make.
### User Interaction
Obviously the field deployment is usually the first time all the instruments and all the data are online together recording real observations, so of course that's when the scientists and investigators start to learn how well the deployment is working.
### Thrill and excitement
You know you're a programmer when you can think thrill and excitement about software.
I'll be honest, it's much more exciting for me to make changes in the field, because that's challenging and that's where I see immediate gratification. I deploy a change and I get to see it in action right away, it immediately starts helping people.
If I have to put the change on a task list, or make it on a branch for release on a future project, that's just un-exciting and un-fun. Never mind that some changes may only be useful for that particular project, so what's the point to putting it off?
SABL slide
C130 SABL, building and deploying vxworks while flying over the Great Lakes. Testing the laser pointing. It was live testing, the instrument was on the plane, in the air, receiving the real live navigation data feed, vibrating and bouncing over the Great Lakes. And I admit it was fun and exciting, and I wasn't barely thinking twice about changing the code and recompiling during flight. I was having so much fun I took a selfie at 10,000 feet before selfie was a word.
Was I thinking then about taking on debt? No. But I should have been. Any code changes made in the air would need to be evaluated later, refactored, and tested. Because I couldn't just ask the plane to fly the next time I wanted to verify my changes still worked.
## Technical Debt for Data
Technical debt is also incurred for data: record as much as possible now, add measurements in the field with as many instruments as you can field and fund, with the intention of later on, after the project, dealing with the format changes and extra research and processing that will be required to reconcile and finally publish those data.
This brings up a question: what if the framework for all the custom processing had to be established ahead of time, so that we had to prove we could reconcile the observational data and get the quality control we advertise, so that during the project we could generate best-quality data in real-time, excepting of course for the calibrations and sanity checks and fixes for unforeseeable problems which must still happen post-project? And by best-quality, I mean if all efforts for a project ceased, then we could publish immediately the processed data, since it's the best we knew how to get at that time.
## System configuration in the field is also technical debt
Technical debt applies to system administration too. For example, we tweak system configurations to add services and capabilities in the field: firewall and routing, printers and other hardware, third-party software installations, desktop configurations, user accounts. We can quickly do it manually in the field, but then the next time we need that same capability we'll have to repeat the manual configuration, after trying to remember how we did it last time. The longer-term solution is to write it up in a script which can get its parameters from a central configuration.
## Other sources of technical debt in the field
There is not enough time for normal software development practices: no time to write tests, or track changes, or write documentation, or log issues in an issue tracker.
Technical debt in a field project is inevitable: you must deploy the expedient fix during the project to keep it going and put off all the checks until later. It means adopting a feature now and assuming it can be supported for all future field deployments.
The features are not just software features: it includes all the system features accumulated from all the field projects up to now.
Users (and developers also) expect to use those features again. They have a long memory. Also, it is very likely a different user will come up with the same need but with a slightly different deployment configuration.
EOL has forever had debates and discussions about how well and even whether we can say no to certain requests. It is hard to define all the software and system requirements (the "softer" side of field deployments) well in advance. Further, it is often the soft side which must accommodate problems in the hard side: changes or additions to instruments, equipment failures or re-purposing.
The upshot is that we will owe over the long run for every feature we have ever offered for a field deployment, because we won't ever start suddenly saying no where we've said yes every time before. And really and truly we don't want to do that either, at least I don't. I don't get excited about software development by telling my users no, I can't make that work for you.
So the question is how to recognize when we're taking on debt? Can we quantify and minimize the risk, can we compromise and include good software development practices in the field? Maybe the reason we take shortcuts in the field is not really time, maybe it's inconvenient tools, poor Internet access, culture.
In EOL we talk about putting out fires instead of cultivating the forest, and probably that happens sometimes for all of us. So think about the last fire you had to put out: was that fire a result of a decision made much earlier for the sake of expedience at the time? We (software engineers) tend not to make that connection I think. We see each problem as a new problem needing a new solution. Maybe we should also look back and check if what we are really doing is paying interest on a debt from an old solution.
Freedom requires discipline. Lots of tools and environments out there -- field work is very distributed and spread out. Sometimes you find yourself in the passenger seat of a truck, driving all day from Kansas to Texas, and debugging python code for sending sounding data in real-time over cellular Internet connections. It can be hard to follow a strict software development process while logged into an embedded Linux computer floating more than 60,000 feet over the antarctic. Process may even get in the way. But that means we need discipline to be aware of the technical debt we're taking on. And we need to be prudent about it: either pay it down quickly before the interest accumulates, or accept that we'll have to pay more later. Maybe we just made a change to some software in the field, and it seems to fix a problem, so we're happy and we move on the next problem. Weeks later, perhaps in the same field project or on a different one, are we going to remember whether we still need that change, why we made it, what it was supposed to fix? Maybe it's the sort of problem that we should document in an issue tracker up front, rather than take on the debt of potentially having to solve the problem again.
When EOL takes inventory of its software, nominally to identify a plan for the software which is aging or outdated and needs maintenance before support becomes critical, it's a little like assessing our technical debt. From a certain perspective, the reason we have software at risk of becoming un-deployable (in other words, software which we as developers deplore deploying) is because somewhere along the way we decided to put off maintaining something. We made a choice--maybe it was "forced" by field deployments and lack of time, but we still need to recognize that we took on debt intending to pay it off later, perhaps without quite appreciating how much interest there would be.
Important to distinguish debt from risk -- choosing an implementation language or 3rd party library naturally incurs risk, but not necessarily debt. Choosing to keep implementing in Python 2 when you know someday you will need to port to Python 3 -- that's debt. Debt is not necessarily good or bad, but we should recognize the debt that we're intending to pay back, sometimes unconsciously I think.
There is risk in choosing not to automate backups and backup recovery, unless you adopt a policy of not recovering from system failures in the field. This is a situation where we must weigh risk versus debt. Maybe we think the risk of a system failure is acceptable. But what we absolutely shouldn't do is assume that we can recover from a failure in a day's time by rebuilding a system manually. By not developing and testing the backup and recovery process, we are accepting the debt of debugging that process in the field in a high-pressure situation.
# Reducing debt for field deployments
The basic idea is to let the software do as much of the customization and configuration work as possible, and borrow ideas from agile software development practices and devops.
## Design to Deploy
Software is not working until it is deployable. It is not enough to compile the program and verify that it does what is needed, it must be automatically and consistently deployable (and even updatable), without requiring repeated manual configuration.
For the ISS, some of the software is third-party processing software, or scripts that scientists have written, so I've been writing python wrappers to those programs to adapt them to the ISS environment. The python code can collect the configuration parameters and apply them to the command line or environment, whatever the program needs.
## Test Deployments
So how do we know when a software system has been deployed successfully? We should be able to run its unit tests successfully on the target system, meaning unit tests should be deployed with the software. But we may need other tests like checking that all external system dependencies exist on the system, like outside tools or libraries, and that those tools work, and a sane configuration exists.
As an example, some of the ISS data processing depends on IDL, and so the ISS system configuration script makes sure IDL is installed. (It should also make sure IDL has a license, but I haven't done that yet.) The Twelve-Factor App suggests not relying on any system dependencies, rolling all external tools into the deployment system. In practice, I get around that on linux by declaring which RPMs and external software I need and automatically installing those when configuring a system. Either way, it's worth adding some automatic mechanisms to confirm a deployment. If you run something manually to make sure an install worked, then script it instead.
## Consolidate and Deploy Configuration
Field software should differ as little as possible across deployments. Instead, customization should be realized with configuration parameters, and access should be through a single interface. Essentially this means associating configurations with the field project rather than spreading it out across the software. Some settings need to be consistent across the deployed software, some might be specific to one program but change across projects. The goal is to deploy a single and consistent configuration across the range of software tools used in a field project, rather than deploying separate configurations for each tool. The configuration includes metadata and context information also, like the name of the project, host names, site names, and so on. Ideally such metadata are set in one place and one place only, since that way it cannot get out of sync.
### Avoid redundant configuration
If different parts of the system or software all need to know the name of the current field project, or the temperature range limits, then they should all get it from the same place.
On the ISS, the configuration is stored in a text file in JSON format, and a python script can be used to set and query the parameters in that file. Both python code and bash scripts get their configuration settings from one place.
### Keep the Configuration in Revision Control
Deploying the configuration also means keeping the configuration consistent across sites and hosts, not just on one system. For the ISS, the configuration is under revision control. When a project configuration changes, the changes can be pulled at every site with a subversion update. One advantage to storing configuration settings in text formats like JSON or XML is that it is easy to manage changes and see differences in revision control systems.
Configuration includes system administration settings as well as software and metadata configuration. When we deploy a network server, it always has custom iptables rules and DHCP and custom user accounts. Those are part of the configuration that should be deployable (and verifiable) automatically.
I have one amusing story about configuration, an example of configuration not being sufficiently separate from software, and I mean no offense to anyone who may have ever approached software configuration this way. I was in Hong Kong for the LANTEX field project, and besides the instruments we'd deployed to measure the winds around the future site of the new Hong Kong airport, one scientist was running a simple model, written in FORTRAN, which required sounding data to initialize it. It turned out that the only way to input the sounding was to convert to FORTRAN source code and compile it into the model. So I ended sitting in the ops center at the Hong Kong University of Science and Technology writing a C program to convert sounding data in CLASS format into a FORTRAN common block.
There are other benefits to keeping configurations in revision control, even if it's for a one-time project and will only be used on a single server. When configuration is in revision control, I can see a log of what's changed on the server and when. I can investigate the current settings even when I'm away from the site or the site is inaccessible, ie, the Internet link is down or the site is powered down. I can also deploy that same configuration to a test server and investigate a problem without having to change the production system.
### Beware overlooked configuration sources
##### Crontab files
If software depends on an entry in crontab, then that is part of its configuration and it should install and manage those entries itself, as part of realizing its configuration. It should not be done manually.
##### BIOS settings
When we deployed a PC to Greeley for a 3-month project over the winter, I forgot to set the AC recovery option so the PC would turn back on after a power loss. Needless to say I was not happy with myself when the site had a power outage and the PC did not recover. I think my coworker that drove out there to push the power button was even less happy with me. Since then I've looked for ways to automatically confirm the BIOS setting when configuring a system, but so far to no avail.
##### Routers, webcams, and other devices
Download and commit the router configurations. As soon as the network appears to be down and the site cannot be reached, you start wondering what settings you left on the router, and how quickly you could restore the configuration if you had to replace it with a new one bought off the shelf at Walmart.
Testing should consider hardware. I think in EOL we are making progress towards testing our software with real data. While unit testing might use small tests with a few artificial values, it's also valuable to be able to test an entire software suite on real data and verify that it still results in the same dataset. Further, software is often the most valuable means of testing hardware in the field. To me the ideal (gold standard, gold ring, ...?) is an end-to-end test: inject a known signal as early into the instrument as possible and let the software verify that it comes out as expected. Of course this can be expanded ad infinitum with all kinds of diagnostics, so obviously we should work towards the most valuable diagnostics first.
## Automate failure detection
It used to be that scientists, technicians, and software engineers were constantly checking on the data during a field campaign. The software engineers had to make sure it was always streaming and recording and plotting, so that scientists and techs could make sure it looked ok. Now more and more of our systems take advantage of nagios and other monitoring, so a software engineer gets an email or text message when a nagios check fails. I believe that's been a big advancement, and like hardware diagnostics, it requires knowing what checks are the most useful to implement. And once you've coded up the detection of a problem, you can use it all the time, everywhere it makes sense. Data checks can be valuable both in real-time and after the project. A threshold test is useful in real-time to detect a problem as it happens, and it is also useful on the final dataset to identify the exact time periods of questionable data. All of it saves time in the field and makes it less risky to do development in the field.
### Modularize and encapsulate processes
The same rules that apply to breaking down source code apply to processes, so that it is easy to identify dependencies. The less coupling between processes, the less likely that dependencies will break, and the easier it is to isolate configuration from code.
This is similar to the Twelve-Factor App recommendation that processes share nothing.
This has a side benefit in that the more decoupled and encapsulated a process can be, the more easily it can be deployed to the cloud. Nowadays one of the most important facilities in the field is Internet access, no matter where we deploy. The faster that Internet access gets, the more we can consider deploying field services to the cloud. Even the aircraft have Internet connections, and field operations depend on that, and those connections naturally continue to get faster.
Tools like docker and vagrant are obviously ideal options to help with process isolation, but it's not yet something I've tried in a field deployment.
## Apply devops to system configuration
Devops can help mitigate the technical debt from system configuration tweaks. If you have to tweak a system to accommodate a new field project configuration, then instead of doing it manually, add the tweak to a script or a provisioning system like puppet, and make it dependent upon a configuration parameter.
ISS bash and python scripts can retrieve configuration parameters and then configure the system accordingly. For example, set the network parameters, enable or disable ports and services, create data and log directories, install packages.
First automate everything that can be automated, then automate the rest.
# Applying devops to data: data-ops
So I also mentioned that data can be a source of technical debt. Recording new instruments for one project likely means recording that instrument for future projects. And it never ends with just recording the instrument data, because those data will need to be checked for quality and reformatted into publishable formats. The more of that that can be automated, the better.
So "data ops" is for data what devops is for software: automating the data processing and consolidating the configuration as much as possible, so that publishing a dataset is as turnkey as deploying a server. Whatever transformations must happen to the data, whatever software must run and with whatever parameters, should all be automated. Like a Makefile for data: identify the dependencies, the transformations (like Makefile rules), the output formats and metadata (the targets). Then "run the build" and "run the tests" specified in the data Makefile. If the processing chain, software, configuration, or inputs change in any of the dependencies, then the affected targets get regenerated.
Unlike for software builds, data builds should include documentation in the metadata for how the results are generated, when, and reasons for changes to the processing. All of that can be generated and updated more easily if the "build configuration" is consolidated into a "data ops" build system.
## Examples:
Data files from a field site get backfilled after an Internet outage, so all the plots which cover the time period of those data need to be regenerated.
The traces in the web plots start to exceed the range limit, so the plot ranges are adjusted. All the web plots which use that plot range need to be regenerated.
We discover during the project that the wind head is off a few degrees, so a calibration offset is added. All the netcdf files and plots which include wind data need to be regenerated.
## Continuous data delivery
So back to the pie-in-the-sky scenario of producing best-quality data in real-time during a field project: what if the framework I was talking about was just such a data build system. At the beginning of the project we setup all the known calibrations, corrections, and processing rules, then we just keep running the build engine through the entire project. As instruments go out, or metadata change, or if calibrations change, those get modified in the build configuration and all the dependencies get updated. If something changes which affects the output since the beginning of the project, then all of that output up to now gets regenerated. For the duration of the project, scientists, developers, PIs, technicians can be looking at what the published data would like if it were released right then. Maybe some of the build artifacts are quality control flags to help identify periods which need to be analyzed manually.
Manual, careful, and subjective analysis will always be required, but whatever edits are justified must be encoded in the automated processing chain so they can be repeated automatically and objectively and so the exact edits can be documented. For example, radar editing can be rather subjective and manually intensive, but the edits should be recorded as a difference to the raw data which can be applied in an automated processing chain. Likewise for blank-out periods. Instead of manually creating a dataset where periods of bad data are replaced with missing values, the blank-out period itself should be part of the build configuration which can be applied to the data automatically, whenever there's a change to the dependencies.
If any of the calculations of correction factors are objective, then they can be automated. They can recomputed continuously throughout the project, against the data recorded so far, and used to regenerate the data targets which depend on them. Once all the instruments are finally turned off and boxed up and on their way home, we'll have a dataset that is complete except for any manual analysis that may still be required.
Carrying this Makefile/software build system analogy a little further, it's like the raw data are source code. Wouldn't it be cool if we could distribute the raw data and the "build system configuration" to anyone, so they could build their own best-quality datasets and tweak the configuration however they like? Perhaps the distributed build system includes the source code for all the required data processing software along with the raw data, or maybe the build system can be designed to download only the raw data needed for the targets desired by the user. This kind of data distribution gives lots of power and flexibility to the data consumers, but it also serves as important documentation of how a dataset was generated. If we can't give a scientist all the pieces and parameters that were used to generate a dataset, then I think that impacts the credibility of the data, at least a little bit. Sure we can document what we did and why, but how can anyone verify (including us) that the documentation matches up with a particular dataset.
Even with the documentation, that doesn't really allow anyone to build the same dataset we built. It's like the difference between open source and proprietary software. Propietary software can document what it does and how it works, but without the source you really have no way to confirm what it does in all situations, much less modify it and improve upon it. I that's like most of the data EOL releases. We're getting better about documenting what software and version was used for which datasets, and if requested we could probably re-generate datasets from the original raw data, but it would take a lot of manual work, and it's certainly not something we could easily train someone else to do. Our goal should be the equivalent of open source, call it open data if you like. We release the raw data and the exact source code and build system configuration required to produce the published data sets, so the sources can be inspected, modified, and even improved and then the data rebuilt. Maybe others will even want to submit patches to our data processing. Maybe we branch the data processing like we branch software.
I have been trying to do something like this in a python data management framework written for the EOL Integrated Sounding System. The ISS is a good testing ground for this because it contains dozens of disparate raw data streams which all feed into different derivations and processing software, and the outputs include artifacts like plots.
## Data-ops for the ISS
iss_catalog slide
The ISS uses a python application as a test implementation for this idea of data-ops, called the iss_catalog. The catalog script scans
The configuration is consolidated into a JSON file and python script for each project, as I mentioned earlier.
Python has been a great platform for this implementation because it has been easy to interface with the rest of the system and with helpful libraries. Metadata are collected and stored in a sqlite database, data files with custom formats can be easily parsed, netcdf files are read with the scipy netcdf interface, there is a module to read the JSON configuration files, the subprocess module allows for running and managing non-python data processing programs.

# What has to change
Here's what has to change to realize some of the above reductions to technical debt:
Software developers
Users' expectations
Infrastructure: distributed version control, issue tracking in the field, software deployment and updates in the field (RPM versus git updates and rebuilds/re-installs), software and system testing in the field, diagnostics
Deployment options: continuous integration systems continuously generating packages and updating repositories, versus update and install on the field system
# Conclusion
The technical debt metaphor has been useful to me in how I think about my choices for software developments. I would encourage anyone to learn more about it. It provides a useful analogy and (I think) good justification for continually improving your software development practices. Ward Cunningham even made the point that technical debt fits nicely with agile development processes, since ideally debt gets paid off quickly in successive iterations and not put off.
Further, maybe, just maybe, this is a useful concept to introduce to our stakeholders and managers. When we as developers are faced with taking on technical debt, probably we aren't the only ones who are affected by that decision, so there are some decisions we shouldn't make alone. Frankly, in EOL I think we can correlate technical debt with stress and morale debt. When technical debt comes due, it's never at a good time, and it never comes without adding some stress. So we help ourselves out in the long run by encouraging development practices which cut down on technical debt.
Also, reducing technical debt is not about tying the hands of developers in the field and trying to inhibit the fun and excitement that comes with in-field development, it's about making in-field development safer and even more fun. I enjoy my coding much more when I can work on source code and not on manually running tests and deploying software updates.
Finally, back to the story of my epic mistake during TOGA-COARE. I took on technical debt by making a software change in the field without evaluating who would pay the debt, how, or when. And isn't that the worst kind of debt, the debt we accept but which someone else will have to pay later? I left the Honiara ops center and went traveling through New Zealand, and my fellow programmer Michelle took the next shift and she had to pay the debt. When I finally called her a week later from Auckland because I had a sinking feeling that maybe something hadn't gone quite right, she confirmed my fears. Wherever Michelle is right now, I hope she's forgiven me for that. And for all the other programmers who have had to pay off debt that I've taken on, especially during field projects, I hope they can forgive me too.
##### References:

http://en.wikipedia.org/wiki/Technical_debt
http://c2.com/doc/oopsla92.html
http://c2.com/cgi/wiki?WardExplainsDebtMetaphor
http://martinfowler.com/bliki/TechnicalDebt.html
http://12factor.net/